## Accessories
Search | Additional1 | Qty. | Manufacturer | Additional2 | Qty. | Manufacturer | Additional3 | Qty. | Manufacturer | Additional4 | Qty. | Manufacturer | Additional5 | Qty.
C10B3 | LV429243 | 2 | Schneider Electric | LV429515 | 2 | Schneider Electric
C16B3 | LV429243 | 2 | Schneider Electric | LV429515 | 2 | Schneider Electric
C10B3TM080 | LV429243 | 2 | Schneider Electric | LV429515 | 2 | Schneider Electric
1SDA066888R1 | 1SDA066922R1 | 1 | ABB A/S | 1SDA067156R1 | 1 | ABB A/S | 1SDA066665R1 | 2 | ABB A/S
1SDA068070R1 | 1SDA066275R1 | 1 | ABB A/S | 1SDA066930R1 | 1 | ABB A/S | 1SDA066669R1 | 2 | ABB A/S
1SDA068061R1 | 1SDA066275R1 | 1 | ABB A/S | 1SDA066930R1 | 1 | ABB A/S | 1SDA066669R1 | 2 | ABB A/S
C10B3TM100 | LV429243 | 2 | Schneider Electric | LV429515 | 2 | Schneider Electric
C16B3TM160 | LV429243 | 2 | Schneider Electric | LV429515 | 2 | Schneider Electric
1SDA067132R1 | 1SDA054981R1 | 1 | ABB A/S | 1SDA066930R1 | 1 | ABB A/S | 1SDA074445R1 | 2 | ABB A/S
C16N3TM160 | LV429243 | 2 | Schneider Electric | LV429515 | 2 | Schneider Electric
C16N3 | LV429243 | 2 | Schneider Electric | LV429515 | 2 | Schneider Electric
LI32111CT01 | 268-2610 | 1
XB4BS8445 | ZBY9101 | 1 | Schneider Electric
4-083-000590 | 1BL | 1 | Noratel
4-083-000206 | 1BL | 1 | Noratel
4-083-000875 | 1BL | 1 | Noratel
4-083-001098 | 1BL | 1 | Noratel
4-083-001589 | 1BL | 1 | Noratel
4-083-000013 | 1BV | 1 | Noratel
8-083-020200 | 1BV | 1 | Noratel
4-083-001824 | 1BV | 1 | Noratel
4-083-000406 | 1BV | 1 | Noratel
4-083-000415 | 1BV | 1 | Noratel
8-083-005810 | 1BD | 1 | Noratel
4-083-000791 | 1BD | 1 | Noratel
8-083-002167 | 1BD | 1 | Noratel
4-083-000394 | 1BD | 1 | Noratel
084B8575 | 084B7299 | 1 | Danfoss

## Stock
Part | QTY | Comment
CUBIC
0069-0000 | 0
0376-0000 | 0
0878-0004 | 0
2043-5040 | 0
8349-0311 | 0
BOTTOM PLATE 2X2 | 0
BOTTOM PLATE 3X2 | 0
BOTTOM PLATE 4X2 | 0
C1X4 | 0
DG1X2 | 0
GP4X4 | 0
SP4 | 0
GP2X5 | 0
GP2X6 | 0
SP2 | 0
SP3 | 0
T3X6 | 0
T1X10 | 0
0429-0100 | 0
8349-0342 | 0
8349-0341 | 0
FB100416 | 0
9030+0040 | 0
C2X2 | 0
T2x10 | 0
GP4x10 | 0
GP3x4 | 0
GP2x10 | 0
SP10 | 0
C4X10 | 0
8349-0211 | 0
0063-0000 | 0
8349-0221 | 0
8349-0231 | 0
SCHNEIDER ELECTRIC
C160S4FM |  | No need | Main switch part
C125S4FM |  | No need | Main switch part
C080S4FM |  | No need | Main switch part
31115 |  | No need | Main switch part
31113 |  | No need | Main switch part
31111 |  | No need | Main switch part
31109 |  | No need | Main switch part
31107 |  | No need | Main switch part
C404400S |  | No need | Main switch part
C634630S |  | No need | Main switch part
33612 |  | No need | Main switch part
33610 |  | No need | Main switch part
33608 |  | No need | Main switch part
31053 |  | No need | Main switch part
LV431051 |  | No need | Main switch part
LV432600T |  | No need | Main switch part
33613 |  | No need | Main switch part
33611 |  | No need | Main switch part
33609 |  | No need | Main switch part
LV432594 |  | No need | Main switch part
LV432482 |  | No need | Main switch part
LV429518 |  | No need | Main switch part
LV429219 |  | No need | Main switch part
LV429249 |  | No need | Main switch part
LV431061 |  | No need | Main switch part
LV432491 |  | No need | Main switch part
LV432596 |  | No need | Main switch part
ABB
2CDS253001R0254 |  |  | S203 C25
2CDS254001R0634 |  |  | S204 C63
2CSF204568R3400 |  |  | F204B 40/0,3
1SDA066669R1 |  |  | HTC XT3 4p
1SDA066275R1 |  |  | KIT FC CuAl 1x35...150mm2 XT3 4pcs
2CDS200912R0001 |  |  | S2C-H6R
2CDS253001R0104 |  |  | S203-C10
2CSF204101R1400 |  |  | F204A 40/0,03
OTHER
ACH580-01-106A-4 |  | No need
ACH580-01-039A-4 |  | No need
ACH580-01-062A-4 |  | No need
ACH580-01-073A-4 |  | No need
ACH580-01-046A-4 |  | No need
PSP650MT3-230U |  | No need
2LT-23 SUL192E-460230 |  | No need
2002-1304 |  | No need
2006-8031 |  | No need
2006-8034 |  | No need
2016-1201 |  | No need
LV429243 |  | No need
SI5000 |  | No need
ACH580-01-145A-4 |  | No need
CAT5E-RA-8-GRAY |  | No need
JRCA-BAC-S2-T |  | No need
JRCA-S2-T |  | No need
EM21072DAV53XOSX |  | No need
3211907 |  | No need
ACH580-01-018A-4 |  | No need
D2.5/5.T3.L |  | No need
JZ3G2,5 |  | No need
134H7161 |  | No need
4CTE-30K-40P |  | No need
4DTE-25K-40P |  | No need
4FTE-30K-40P |  | No need
4NSL-30K-40P |  | No need
4PSL-25K-40P |  | No need
4TSL-20K-40P |  | No need
4VSL-15K-40P |  | No need
6CTE-50K-40P |  | No need
6FTE-50K-40P |  | No need
47Kohm |  | No need
GR230A-R |  | No need
GR24A-MF-R |  | No need
JZ4G10 |  | No need
JZ7G4 |  | No need
JZ7G10 |  | No need
JZ4G25 |  | No need
LiYCY 4x0,75 |  | No need
JZ3G0,75 |  | No need
4G10 EMC |  | No need
3x16+3G2.5 EMC |  | No need
3x25+3G4 EMC |  | No need
JZ7G16 |  | No need
LiYY 3X0,75 |  | No need
LiYY 7X0,75 |  | No need
LiYCY 6x2x0,5 |  | No need
1-W-10M-PUR |  | No need
V19-W-BK10M-PUR-U |  | No need
JZ4G16 |  | No need
WM30AV53H |  | No need
H05VV-F 3G1 |  | No need
H07Z-K 1G10 |  | No need
AKSF |  | No need
Level Switch |  | No need
Pressure Transmitter |  | No need
Pressure Switch |  | No need
Stepper Valve |  | No need
Cable JZ |  | No need
DEKA-PA |  | No need
DEKA-S |  | No need
DEUTSCH DT06 |  | No need
ICAD |  | No need
Oil level system |  | No need
PS3-N100 |  | No need
Temperature sensor |  | No need
item |  | No need
Solenoid Valve |  | No need
nan |  | No need
RoundPackart |  | No need
4DTEU-25LK-40S |  | No need
4ESL-9K-40S |  | No need
4FSL-7K-40S |  | No need
4FTEU-30LK-40S |  | No need
SR230AX-TP |  | No need
JZ4G4 |  | No need
JZ4G2,5 |  | No need
4G2,5 EMC |  | No need
ACH580-01-026A-4 |  | No need
Phoenix Contact
CUBIC BULK
plc |  | 9030+0040
3062-0150 |  | No need
0057-0000 |  | No need
1023-001 |  | No need
0079-0000 |  | No need
0080-0000 |  | No need
1031-0013 |  | No need
1053-0000 |  | No need
2010-4812 |  | Q1
0018-0000 |  | Q1
0062-0000 |  | Q1
0070-0000 |  | Q1
0558-0003 |  | Q1
0610-0000 |  | Q1
1004-0000 |  | Q1
1180-0001 |  | Q1
1192-0000 |  | Q1
2009-1050 |  | Q1
2018-0600 |  | Q1
2018-0800 |  | Q1
2176-0000 |  | Q1
2209-0855 |  | Q1
3040-0812 |  | Q1
3041-0812 |  | Q1
3050-3800 |  | Q1
3101-0616 |  | Q1
3101-0816 |  | Q1
3102-0612 |  | Q1
3108-0816 |  | Q1
6820-0208 |  | Q1
1052-0000 |  | Q1
2009-1030 |  | Q1
2009-1040 |  | Q1
2018-1000 |  | No need
2275-1064 |  | Q1
3101-082 |  | Q1
peb |  | Q1
0078-0003 |  | Q1
0315-0001 |  | Q1
3041-0612 |  | Q1
3101-0820 |  | Q1
h |  | Q1
1055-0000S |  | Q1
3102-0608 |  | Q1
3045-0614 |  | Q1
3101-0610 |  | Q1
0071-0000 |  | Q1
0073-0000 |  | Q1
0143-0000 |  | Q1
0641-0001 |  | Q1
2012-0816 |  | Q1
3039-0810 |  | Q1
3045-0610 |  | Q1
3102-0816 |  | Q1
1056-0000 |  | Q1
2018-1200 |  | Q1
2037-0800 |  | Q1
2009-1080 |  | Q1
3101-0630 |  | Q1
2209-0865 |  | Q1
2009-10120 |  | Q1
0558-0002 |  | Q1
0558-0001 |  | Q1
2009-10100 |  | Q1
2009-1060 |  | Q1
BEHS |  | Q1
3062-0300 |  | No need
0061-0010 |  | Q1
0061-0020 |  | Q1
0061-0000 |  | Q1
1193-0000 |  | Q1

## Instructions
Type | Size | Pallet | Picture | Dampers | Plates
A | 1900x800x400 | 1200x800 |  | 4 | BOTTOM PLATE 4X2
B | 1900x800x400 | 1200x800 |  | 4 | BOTTOM PLATE 4X2
B1 | 2040x1008x432 | 1200x800 |  | 4 | BOTTOM PLATE 5X2
B2 | 2040x1200x432 | 1400x800 |  | 4 | BOTTOM PLATE 6X2
C | 1900x800x800 | 1200x1000 |  | 8 | BOTTOM PLATE 4X2 | BOTTOM PLATE 4X2
C1 | 2040x1008x816 | 1200x1000 |  | 6 | BOTTOM PLATE 5X2 | BOTTOM PLATE 5X2
C2 | 2040x1200x816 | 1400x1000 |  | 6 | BOTTOM PLATE 6X2 | BOTTOM PLATE 6X2
C3 | 2040x1584x816 | 1800x1000 |  | 9 | BOTTOM PLATE 4X2 | BOTTOM PLATE 4X2 | BOTTOM PLATE 4X2 | BOTTOM PLATE 3X2 | BOTTOM PLATE 1X1
C4 | 2136(2520)x1200x1200 | 1400x1400 + 800x800 |  | 9 | BOTTOM PLATE 6X4 | BOTTOM PLATE 6X2
C4.1 | 2136x1200x1200 | 1400x1400 |  | 9 | BOTTOM PLATE 6X4 | BOTTOM PLATE 6X2
C5 | 2136x1584x1200 | 1800x1400 |  | 9 | -
C6 | 2136x1776x1392 | 2000x1600 |  | 12 | -
C7 | 2136x1968x1392 | 2200x1600 |  | 12 | -
C8 | 2136x2352x1392 | 2500x1600 |  | 12 | -
F | 2000x800x400 | 1200x800 |  | 0 | BOTTOM_PLATE_S_4X2
F1 | 2136x1008x432 | 1200x800 |  | 0 | BOTTOM PLATE 5X2
F2 | 2136x1200x432 | 1400x800 |  | 0 | BOTTOM PLATE 6X2
F3 | 2136x1600x400 | 1800x800 |  | 0 | BOTTOM_PLATE_S_4X2
F4 | 2136x1968x432 | 2200x800 |  | 0 | BOTTOM_PLATE_S_4X2
F5 | 2136x2352x432 | 2600x800 |  | 0 | -
F6 | 2136x2736x624 | 3000x800 |  | 0 | -
F7 | 2136x3504x624 | 3700x800 |  | 0 | -
G | 2000x800x400 | 1200x800 |  | 0 | BOTTOM_PLATE_S_4X2
G1 | 2136x1008x432 | 1200x800 |  | 0 | BOTTOM PLATE 5X2
G2 | 2136x1200x432 | 1400x800 |  | 0 | BOTTOM PLATE 6X2
G3 | 2136x1600x400 | 1800x800 |  | 0 | BOTTOM_PLATE_S_4X2 | BOTTOM_PLATE_S_4X2
G4 | 2136x1968x432 | 2200x800 |  | 0 | BOTTOM_PLATE_S_4X2 | BOTTOM_PLATE_S_4X2
G5 | 2136x2352x432 | 2600x800 |  | 0 | -
G6 | 2136x2736x624 | 3000x800 |  | 0 | -
G7 | 2136x3504x624 | 3700x800 |  | 0 | -
Custom |  |  |  |  | -

## Part_code
Type | Vendor Item Number | Manufacturer | Description | No.
AK-XM 205A | 080Z0010 | Danfoss A/S | I/O modul, AK-XM 205A | 2208243
AK-OB 110 | 080Z0251 | Danfoss A/S | AK2-AK-OB 110 2 ch AO expansion board | 2208236
AK-PC 782A | 080Z0192 | Danfoss A/S | Anlægsstyringer, AK-PC 782A | 2208238
AK-PC 781A | 080Z0191 | Danfoss A/S | AK-PC 781A Pack Controller | 2208240
AK-PC 782B | 080Z0202 | Danfoss A/S | AK-PC 782B Pack Controller | 2208244
AK-SM 850A | 080Z4021 | Danfoss A/S | System Manager AK-SM 850A Controller | 2208246
AK-MMI GRS2 | 080G0297 | Danfoss A/S | Kontrolpanel, MMIGRS2 | 2208239
ACCBI Cable | 080G0076 | Danfoss A/S | Cable for AK-MMI LCD Display 3m | 2208250
AK-CM 102 | 080Z0064 | Danfoss A/S | AK-CM 102 Control Comm. Module | 2208254
AK-XM 102B | 080Z0013 | Danfoss A/S | I/O modul, AK-XM 102B | 2208245
AK-XM 103A | 080Z0032 | Danfoss A/S | I/O modul, AK-XM 103A | 2208247
AK-XM 208C | 080Z0023 | Danfoss A/S | I/O module, AK-XM 208C | 2208242
M2M2 Gateway | FDS041 | Danfoss A/S | AK2 gateway (modbus TCP + BACnet/IP) M2M2 | 2208255
EKF 1A | 080G5030 | Danfoss A/S | EKF1A valve driver | 2208257
EKF 2A | 080G5035 | Danfoss A/S | EKF2A valve driver | 2208258
| 080X2010 | Danfoss A/S | AI Filter for EKF | 2208256
EKA 164B | 084B8575 | Danfoss A/S | EKA 164B, Display, Remote setting, EKC | 2213204
084B7099 | 084B7299 | Danfoss A/S | Cable 6m, EKA displays, S/M-Pack | 2213382
AK-PC 781B | 080Z0194 | Danfoss A/S | Pack controller, AK-PC 781B
AK-XM 101A | 080Z0007 | Danfoss A/S | I/O module, AK-XM 101A | 2214783
| PGDERK1FXO | Carel Industries S.p.A | LCD Controller Display -(PGDERK1FX0) | 2210804
| S90CONN001 | Carel Industries S.p.A | PCO Cable for terminal 3 m- (S90CONN001) | 2210803
| PCOS004850 | Carel Industries S.p.A | PCOS004850 Optocoupler RS485 serialcard | 2210805
| P+ERK00000000 | Carel Industries S.p.A | P+ERK00000000 Expansions Board 16 I/O | 2210806
| PRK30TL0F0 | Carel Industries S.p.A | Controller-pRack PR300T-HS Large | 2210810
| P+50NSJB000L0 / P+50 | Carel Industries S.p.A | C.PCO Large – Carel PLC 1xETH | 2210813
| P+50CON0L0 | Carel Industries S.p.A | Connector kit for C.PCO | 2210814
| P+E0000000000 | Carel Industries S.p.A | C.PCO Extension module 16 I/O | 2210815
| P+D0CON0B0 | Carel Industries S.p.A | Connector kit for C.PCO Extension module | 2210816
| PGB10010FA0D0 | Carel Industries S.p.A | 10” Touch screen for C.PCO | 2210817
A9A26924 | A9A26914 | Shneider
h | HQ1 | CUBIC
ZS4-SF1-R1 | 3211903 | Phoenix Contact A/S
ZK4 | 3211757 | Phoenix Contact A/S
ZK4-PE | 3211766 | Phoenix Contact A/S
ZS4-SF1-R3 | 3211907 | Phoenix Contact A/S
ZK2.5-T1-PE | 3210525 | Phoenix Contact A/S
XALK178E |  | AKSF
CP DC UPS 24V 20A/10A | CP DC UPS 24V 20A/10 | Weidmüller | UPS control unit CP DC UPS 24V 20A/10A | 1130535
PRO MAX 240W 24V 10A | 1478130000 | Weidmüller | PROmax Power supply PRO MAX 240W 24V 10A | 1319467
DURA ECO LA-BAT 24V 1.2AH | 2789890000 | Weidmüller | Weidmüller battery DURA ECO LA-BAT 24V 1.2AH | 2147387
ZK2.5-T3 | 3210499 | Phoenix Contact A/S
S203-C6 | 2CDS253001R0064 | ABB
S203-C16 | 2CDS253001R0164 | ABB
S203-C25 NA | 2CDS253103R0254 | ABB
S203-D63 | 2CDS253001R0631 | ABB
S2C-H6-20R | 2CDS200946R0002 | ABB
DDA203 B-63/0.3 AP-R | 2CSB203592R3630 | ABB
DDA203 A-63/0,03 | 2CSB203101R1630 | ABB
DDA204 A-63/0,03 | 2CSB204101R1630 | ABB
CA4-10 | 1SBN010110R1010 | ABB
CA4-01 | 1SBN010110R1001 | ABB
AF40-30-00-13 | AF40-30-00-13 | ABB
HKF1-11 | 1SAM201901R1001 | ABB
MS132-25 | MS132 25 | ABB
MS132-32 | MS132 32 | ABB
MS165-42 | 1SAM451000R1015 | ABB
MS165-54 | 1SAM451000R1016 | ABB
S1-M3-35 | 1SAM201913R1103 | ABB
PS1-3-0-65 | 1SAM201906R1103 | ABB
XT1B 160 TMD125 | 1SDA066888R1 | ABB
XT3N+TMD250 4p | 1SDA068070R1 | ABB
XT3N+TMD80 4p | 1SDA068061R1 | ABB
AUX 1Q 250Vac/dc XT1...XT6 | 1SDA066422R1 | ABB
KIT FC CuAl 1x35...150mm2 XT3 | 1SDA066275R1 | ABB
RC B Type XT3 4p | 1SDA067132R1 | ABB
S203-C10 | 2CDS253001R0104 | ABB
S2C-H6R | 2CDS200912R0001 | ABB
F204 B-40/0,3 | 2CSF204568R3400 | ABB
F204A-40/0,03 | 2CSF204101R1400 | ABB
F204A-63/0,03 | 2CSF204101R1630 | ABB
HTC XT3 4p TERMINAL COVER | 1SDA066669R1 | ABB
XT3N+TMD200 4p | 1SDA068069R1 | ABB
KIT MC CuAl 6x2.5...35mm2 XT3 | 1SDA066929R1 | ABB
LTC XT3 4p TERMINAL COVER | 1SDA066661R1 | ABB
BEA65-4 | 1SBN083406R1000 | ABB
F204 B-63/0,3 | 2CSF204568R3630 | ABB
AF65-30-00-13 | 1SBL387001R1300 | ABB
AF80-30-00-13 | 1SBL397001R1300 | ABB
WLB32 | 87493 | Banner
3211903 |  | Phoenix Contact
3211757 |  | Phoenix Contact
3211766 |  | Phoenix Contact
3211907 |  | Phoenix Contact
3210525 |  | Phoenix Contact
3210499 |  | Phoenix Contact
A9V51225 |  | Schneider Electric
SUL150C-234230 |  | Noratel
080Z0194 |  | Danfoss
LV847245 |  | Schneider Electric
LV847906 |  | Schneider Electric
LV833095 |  | Schneider Electric
LV847281 |  | Schneider Electric
LV847514 |  | Schneider Electric
LV833857SP |  | Schneider Electric
A9V51225 |  | Schneider Electric
GV2RT10 |  | Schneider Electric
GV2RT14 |  | Schneider Electric
C100S4FM |  | Schneider Electric
C080S4FM |  | Schneider Electric
ZBY8101 | ZBY9101 | Schneider Electric
3389110099348 | ZBY9101 | Schneider Electric
2002-1611/1000-836 |  | WAGO
2002-1611/1000-541 |  | WAGO
AC C-Tec 2403-1 | JSAC-CTEC 2403-1 | J. Schneider Elektrotechnik
KTS 11101.0-00 | 11101.0-00
SD035 03500.0-00 | 03500.0-00
SD035 03501.0-00 | 03501.0-00
ABL6TS63U | SUL150A-234230
PSP650MT3-230U | LI32111CT01 | Vertiv
XT1B 160 TMD | 1SDA066821R1

## Main_switch
Amps | Main switch | Additional1 | Additional2 | Additional3 | Additional3 | Additional3 | Additional4
1600 | C160S4FM | 33612 | 33613 | 33879
1250 | C125S4FM | 33610 | 33611 | 33879
800 | C080S4FM | 33608 | 33609 | 33879
630 | 31115 | 31053 | LV432594 | LV432482 | CUBIGII BUSBAR COVER V2 | LV432596 | LV432491
500 | 31113 | 31053 | LV432482 | LV432594
400 | 31111 | 31053 | LV432482 | LV432594
320 | 31109 | 31053 | LV432482 | LV432594
250 | 31107 | LV431051 | LV429518 | LV429219 | LV429249 | LV431061
400 | C404400S | LV432600T | LV432482 | LV432594 | LV432491 | LV432596
630 | C634630S | LV432600T | LV432482 | LV432594 | LV432491 | LV432596

## Part_no
Item no. | Type no. | Description | Supplier | Supplier No. | Cost price / Unit cost DKK
1000126 | 1SBN010110R1010 | HJ_LPEKONTAKT CA4-10 1NO | ABB | 30024 | 10.2896
1000375 | 2CDS253001R0104 | AUTOMATSIKRING 3P C 10A | ABB | 30024 | 122.5071
1000380 | 2CDS253001R0064 | AUTOMATSIKRING 3P C 6A | ABB | 30024 | 146.618
1000690 | 2CDL200001R0001 | END COVER PS-END | ABB | 30024 | 4.0233
1000691 | 2CDL200001R0002 | ENDESTYKKE FOR SL_JFESKINNE PS4 | ABB | 30024 | 3.9977
1000941 | 1SAM201901R1001 | HJ_LPEKONT 1SL+1BR MS116/MS132 | ABB | 30024 | 16.7425
1000951 | 2CDS200912R0001 | HJ_LPEKONTAKT TIL AUT. 1S+1B | ABB | 30024 | 45.2113
1001863 | 2CDL230001R1060 | SL_JFESKINNE 3F 60 MODULER | ABB | 30024 | 158.0329
1003549 | 1SDA066669R1 | TERMINAL AFD_KNING XT3 4P H_J | ABB | 30024 | 77.0606
1016021 | S204-C16 | AUTOMATSIKRING 4P C 16A | ABB | 30024 | 54.897
1016788 | F204A-63/0,03 | HPFI-AFB. 63/0,03/4P | ABB | 30024 | 179.2487
1022461 | S203-C63 | AUTOMATSIKRING 3P C 63A | ABB | 30024 | 141.1014
1023670 | S203-C16 | AUTOMATSIKRING 3P C 16A | ABB | 30024 | 144.6369
1025255 | F204A-40/0,03 | HPFI-AFB. 40/0,03/4P | ABB | 30024 | 143.531
1034813 | PS4/60/16 | SL_JFESKINNE PS4/60/16 | ABB | 30024 | 242.35
1036697 | 1SAM201906R1102 | SLØJFESKINNE 690V 65A F. MS1XX - PS1-2-0-65 | ABB | 30024 | 36.66
1036730 | MS132 25 | MOTORV_RN MS132 20 ... 25 A | ABB | 30024 | 188.8918
1065208 | S 204 C25 | AUTOMATSIKRING 4P C 25A | ABB | 30024 | 92.9017
1065212 | S 204 D63 | AUTOMATSIKRING 4P D 63A | ABB | 30024 | 359.744
1136819 | AF80-30-00-13 | KONTAKTOR 80 A 100-250 V AC/DC | ABB | 30024 | 577.8747
1140410 | DDA204 B-63/0,3 AP-R | RCD-BLOK 4POL HFI 63A 300MA C | ABB | 30024 | 1447.0553
1149414 | 2CDS254001R0634 | AUTOMATSIKRING 4P C63 2CDS254001R0634 | ABB | 30024 | 151.4457
1151646 | 2CSB203101R1630 | RCD-BLOK 3 POL HPFI 63A 30mA 2CSB203101R1630 | ABB | 30024 | 973.8447
1151669 | 2CSB204101R1630 | RCD-BLOK 4 POL HPFI 63A 30mA 2CSB204101R1630 | ABB | 30024 | 225.9485
1152072 | 2CDL230001R1048 | SLØJFESKINNE 10 KVADRAT 2CDL230001R1048 | ABB | 30024 | 140.868
1155852 | 1SDA066275R1 | Terminalsæt for CU/AL leder Kabel terminaler kobbe | ABB | 30024 | 172.788
1156167 | 1SDA066930R1 | Terminalsæt al/cu multiklemme Multi kabel terminal | ABB | 30024 | 219.9118
1157061 | 1SDA068061R1 | Maksimalafb. 80A 4p 36kA@400V TM relæ Tmax XT seri | ABB | 30024 | 909.215
1491507 | 2CDS200946R0002 | HJÆLPEKONTAKT FOR S200, F200, DS200 2CDS200946R000 | ABB | 30024 | 148.4409
1492697 | 1SDA067132R1 | Type B fejlstrøm XT3 *Ikke løssalg* Fejlstrømsmodu | ABB | 30024 | 2350.655
1516771 | 2CSB204001R1630 | RCD-BLOK 4 POL HPFI 63A 30mA Type AC | ABB | 30024 | 620.16
1517066 | 1SDA074445R1 | Terminalafdækning Høj terminal cover 1SDA074445R1 | ABB | 30024 | 77.06
1910856 | D40 600/5A 5VA CL 0. | CT strøm-måletransformer D40 600/5A 5VA Cl 0.2S | ABB | 30024 | 198
2121123 | 2CSF204568R3400 | RCCB F204 B -40/0.3 | ABB | 30024 | 1931.5111
2121124 | 2CSF204568R3630 | F204 B-63/0.3 | ABB | 30024 | 1983.06
2126589 | A9V51225 | ACTI9 VIGI IC60 2P 25A 30MA A-TYPE ADD-O | ABB | 30024 | 295.41
2150981 | 1SDA068070R1 | Maksimalafbryder Tmax XT3, 250A Termomagnetisk TMD | ABB | 30024 | 1325.02
2205478 | 2CSB203592R3630 | HPFI Fejlstrømsmodul 63A, 3-polet, udløsestrøm 300 | ABB | 30024 | 2446.5671
2186245 | 87493 | WLB32ZC285PBQMB - WLB32 Industrial LED | Baner | 30405 | 820.59
2193937 | CUBIGII BUSBAR COVER V2 | CUBIGII BUSBAR COVER V2 | Black lion | 30405 | 214.1873
2193956 | SXL _2x3_Front Cover | 2 mm organic glass - 30,5 cm x 88 cm | Black lion | 30405 | 62.058
2193957 | SXL_3x3_Front_Cover | 2 mm organic glass – 50 cm x 50 cm | Black lion | 30405 | 124.2288
2206099 | SXL_4X3_FRONT_COVER | 2 mm organic glass – 69,5 cm x 50 cm | Black lion | 30405 | 170.394
2210803 | S90CONN001 | PCO Cable for terminal 3 m- (S90CONN001) | Carel | 30171 | 27.864
2210804 | PGDERK1FXO | LCD Controller Display -(PGDERK1FX0) | Carel | 30171 | 952.8333
2210805 | PCOS004850 | PCOS004850 Optocoupler RS485 serialcard | Carel | 30171 | 469.844
2210806 | P+ERK00000000 | P+ERK00000000 Expansions Board 16 I/O | Carel | 30171 | 1358.7743
2210810 | PRK30TL0F0 | Controller-pRack PR300T-HS Large | Carel | 30171 | 2868.25
2210813 | P+50NSJB000L0 / P+50 | C.PCO Large – Carel PLC 1xETH | Carel | 30171 | 3590.9
2210814 | P+50CON0L0 | Connector kit for C.PCO | Carel | 30171 | 93.646
2210815 | P+E0000000000 | C.PCO Extension module 16 I/O | Carel | 30171 | 867.932
2210816 | P+D0CON0B0 | Connector kit for C.PCO Extension module | Carel | 30171 | 53.4167
2210817 | PGB10010FA0D0 | 10” Touch screen for C.PCO | Carel | 30171 | 3576
2210818 | P+D000UE1DEF0 | C.PCO Mini Din Enhanced | Carel | 30171 | 0
1000340 | 1031-0013 | ANSATSM_TRIK | Cubic | 30093 | 4.2817
1000764 | 0063-0000 | FORBINDELSESSTK. 630A TRANSF. | Cubic | 30093 | 48.3822
1000765 | 0065-0000 | Forbindelsesstykke,1000A, transformer, S2000 | Cubic | 30093 | 99.7714
1001076 | JK2 | KABELJERN JK2 | Cubic | 30093 | 23.2291
1001171 | 0069-0000 | KONTAKTSTYKKE, SP_NDINGSLEDNING, | Cubic | 30093 | 12.3479
1001267 | 0377-0000 | Laske, 1000A, transformer, S2000 | Cubic | 30093 | 195.1157
1001268 | 0376-0000 | LASKE F/STR_MTRAFO 0376-0000 | Cubic | 30093 | 75.4033
1001324 | T3X10 | L_GE T3 X 10 BXH 566X1910MM | Cubic | 30093 | 590.1343
1001460 | MC25 | GUMMIFLANGE CUBIC MC25 | Cubic | 30093 | 51.69
1001461 | MC3 | GUMMIFLANGE CUBIC MC3 | Cubic | 30093 | 47.0943
1001642 | 1063-0400 | PROFIL FOR RF, VANDRET | Cubic | 30093 | 32.2779
1001824 | 0081-0000 | SKINNEB_RER CUBIC 0081-0000 | Cubic | 30093 | 31.87
1001825 | 0543-1040 | SKINNEB_RER F/CU10X40 0543-1040 | Cubic | 30093 | 42.3837
1002034 | 0080-0000 | ST_TTEPLADE, BAG | Cubic | 30093 | 29.5699
1002035 | 0079-0000 | ST_TTEPLADE, FRONT. | Cubic | 30093 | 15.9998
1002402 | 0341-0800 | _JESKRUE (BOLT) CUBIC 0341-0800 | Cubic | 30093 | 31.1979
1002866 | FB100288 | CU-FLEX SKINNE, 288MM FB100288 | Cubic | 30093 | 56.8291
1002903 | PE-FB50160 | Cu-flex skinne | Cubic | 30093 | 23.2227
1002983 | C1X2 | D_KSEL.C1X2 | Cubic | 30093 | 72.744
1002984 | C2X10 | D_KSEL.C2X10 | Cubic | 30093 | 306.8788
1002985 | C2X2 | D_KSEL.C2X2 | Cubic | 30093 | 82.21
1002986 | C2X3 | D_KSEL.C2X3 | Cubic | 30093 | 122.76
1002987 | C2X4 | D_KSEL.C2X4 | Cubic | 30093 | 151.17
1002988 | C2X5 | D_KSEL.C2X5 | Cubic | 30093 | 191.1387
1002989 | C2X6 | D_KSEL.C2X6 | Cubic | 30093 | 212.0651
1002992 | C2X9 | D_KSEL.C2X9 | Cubic | 30093 | 280.25
1002993 | C3X10 | D_KSEL.C3X10 | Cubic | 30093 | 431.8467
1002995 | C3X4 | D_KSEL.C3X4 | Cubic | 30093 | 211.4892
1002996 | C3X9 | D_KSEL.C3X9 | Cubic | 30093 | 391.658
1002997 | C4X10 | D_KSEL.C4X10 | Cubic | 30093 | 569.4552
1002998 | C4X5 | D_KSEL.C4X5 | Cubic | 30093 | 326.84
1003408 | GP2X10 | GRUNDPLADE CUBIC GP2X10 | Cubic | 30093 | 319.5598
1003411 | GP2X4 | GRUNDPLADE CUBIC GP2X4 | Cubic | 30093 | 138.5621
1003412 | GP3X10 | GRUNDPLADE CUBIC GP3X10 | Cubic | 30093 | 478.4915
1003413 | GP3X3 | GRUNDPLADE CUBIC GP3X3 | Cubic | 30093 | 154.1283
1003414 | GP3X4 | GRUNDPLADE CUBIC GP3X4 | Cubic | 30093 | 183.88
1003417 | GP4X10 | GRUNDPLADE CUBIC GP4X10 | Cubic | 30093 | 571.9255
1003502 | HS10 | HJ_RNESKINNE CUBIC HS10 | Cubic | 30093 | 158.3993
1003504 | HS2 | HJ_RNESKINNE CUBIC HS2 | Cubic | 30093 | 34.38
1003505 | HS3 | HJ_RNESKINNE CUBIC HS3 | Cubic | 30093 | 47.9897
1003506 | HS4 | HJ_RNESKINNE CUBIC HS4 | Cubic | 30093 | 61.87
1003507 | HS5 | HJ_RNESKINNE CUBIC HS5 | Cubic | 30093 | 76.1292
1003508 | HS6 | HJ_RNESKINNE CUBIC HS6 | Cubic | 30093 | 86.8
1003510 | HS8 | HJ_RNESKINNE CUBIC HS8 | Cubic | 30093 | 132.1874
1003635 | ID2 | INDSATSJERN CUBIC ID2 | Cubic | 30093 | 23.2215
1003636 | ID3 | INDSATSJERN CUBIC ID3 | Cubic | 30093 | 33.6713
1004398 | T2X10 | L_GE T2 X 10 BXH 374X1910MM | Cubic | 30093 | 471.5744
1004400 | T2X4 | L_GE T2 X 4 BXH 374X758MM | Cubic | 30093 | 168.47
1004408 | T4X10 | L_GE T4 X 10 BXH 758X1910MM | Cubic | 30093 | 676.54
1004759 | 1063-1000 | PROFIL FOR RF, LODRET | Cubic | 30093 | 90.6475
1005277 | 2009-1240 | Skrue, 6 kt., uden skaft | Cubic | 30093 | 2.4722
1005386 | SP10 | SPROSSE CUBIC SP10 | Cubic | 30093 | 176.55
1005387 | SP2 | SPROSSE CUBIC SP2 | Cubic | 30093 | 44.5897
1005388 | SP3 | SPROSSE CUBIC SP3 | Cubic | 30093 | 63.7385
1005389 | SP4 | SPROSSE CUBIC SP4 | Cubic | 30093 | 78.0242
1005391 | SP8 | SPROSSE CUBIC SP8 | Cubic | 30093 | 152.1625
1063148 | JK3 | KABELJERN JK3 | Cubic | 30093 | 31.5402
1063168 | DG2X3 | GLAT D_KSEL DG2X3 | Cubic | 30093 | 70.8492
1063169 | DG2X4 | GLAT D_KSEL DG2X4 | Cubic | 30093 | 91.204
1063174 | DG3X3 | GLAT D_KSEL DG3X3 | Cubic | 30093 | 102.9167
1063186 | T3X3 | L_GE T3X3 BXH 566X566MM | Cubic | 30093 | 185.5165
1063193 | GP1X10 | GRUNDPLADE GP1X10 | Cubic | 30093 | 166.1804
1063207 | 3041-0608 | CYLINDERSKRUE, TORX, LAVT HOVED | Cubic | 30093 | 2.7936
1063216 | 3101-0410 | CYLINDERSKRUE, TORX | Cubic | 30093 | 0.42517
1063228 | 3102-068Q1 | SKRUE, UNDERS_NKET, TORX 200pcs. | Cubic | 30093 | 0.73128
1063238 | 3046-5512 | SKRUE GEVINDFORMEDE, TORX | Cubic | 30093 | 1.0212
1063290 | 0543-1050 | SKINNEB_RER F/CU10X50 0543-1050 | Cubic | 30093 | 43.6034
1063291 | 0058-0000 | Isolationsrør, vandrette skinner 10x50, pr.m. 2m | Cubic | 30093 | 84.885
1063323 | ICCP2 | MONTAGEPROFIL ICCP2 | Cubic | 30093 | 21.47
1063324 | ICCP3 | MONTAGEPROFIL ICCP3 | Cubic | 30093 | 34.4789
1063342 | ICCP4 | MONTAGEPROFIL ICCP4 | Cubic | 30093 | 47.29
1063375 | C1X10 | D_KSEL.C1X10 | Cubic | 30093 | 219.7481
1063377 | C1X4 | D_KSEL.C1X4 | Cubic | 30093 | 99.656
1063390 | C4X4 | D_KSEL.C4X4 | Cubic | 30093 | 261.069
1063483 | SP5 | SPROSSE CUBIC SP5 | Cubic | 30093 | 87.2013
1063489 | 0321-0000 | TEGNINGSHOLDER KPL. 0321-0000 | Cubic | 30093 | 45.27
1063500 | T1X10 | L_GE T1 X 10 BXH 182X1910MM | Cubic | 30093 | 254.0814
1063503 | T2X6 | L_GE T2 X 6 BXH 374X1142MM | Cubic | 30093 | 233.09
1063507 | T3X7 | L_GE T3 X 7 BXH 566X1334MM | Cubic | 30093 | 457.6716
1063509 | T4X3 | L_GE T4 X 3 BXH 758X566MM | Cubic | 30093 | 216.3639
1063510 | T4X4 | L_GE T4 X 4 BXH 758X758MM | Cubic | 30093 | 276.18
1063513 | T4X7 | L_GE T4 X 7 BXH 758X1334MM | Cubic | 30093 | 502.9544
1063521 | 1055-0000S | H_NGSEL FORSTRK. CUB.1055-0000P | Cubic | 30093 | 20.07
1063540 | GP2X6 | GRUNDPLADE CUBIC GP2X6 | Cubic | 30093 | 188.0833
1063546 | GP3X7 | GRUNDPLADE CUBIC GP3X7 | Cubic | 30093 | 333.2199
1063547 | GP4X4 | GRUNDPLADE CUBIC GP4X4 | Cubic | 30093 | 250.725
1063550 | GP4X7 | GRUNDPLADE CUBIC GP4X7 | Cubic | 30093 | 405.615
1063554 | ID4 | INDSATSJERN CUBIC ID4 | Cubic | 30093 | 39.9838
1063570 | 2055-0400 | POPNITTE US CUBIC 2055-0400 | Cubic | 30093 | 1.0202
1136513 | 0057-0000 | Isolationsrør, vandrette skinner 10x30, pr. m | Cubic | 30093 | 46.2904
1136521 | 0088-0001 | VANDRET SKINNEHOLDER, S2000 | Cubic | 30093 | 222.37
1136522 | 2077-0000 | JORDKLEMME UDEN BESLAG 7-POLET | Cubic | 30093 | 16.798
1136523 | 0064-0000 | BESLAG FOR JORDKLEMME 2077-0000 | Cubic | 30093 | 12.5308
1139253 | JK4 | KABELJERN | Cubic | 30093 | 40.4709
1334223 | 0072-0000 | Kontaktstykke, 50 mm, skinnekryds | Cubic | 30093 | 21.091
1334226 | 0074-0000 | Spændestykke, 50 mm, skinnekryds | Cubic | 30093 | 17.4064
1334353 | 0429-0100 | Tilgangslaske, L1/N, 1800A, S2000 | Cubic | 30093 | 411.14
1334355 | 0429-0200 | Tilgangslaske L2/L3 1800A S2000 | Cubic | 30093 | 336.1233
1334412 | 0543-1060 | Skinnebærer, 2M, Cu10x60, S2000 | Cubic | 30093 | 43.9818
1334447 | 0585-0000 | Forbindelsesstykke, L1/L3, 1200A, transformer, S20 | Cubic | 30093 | 142.1469
1334449 | 0586-0000 | Forbindelsesstykke, L2, 1200A, transformer, S2000 | Cubic | 30093 | 174.5822
1334451 | 0588-0000 | Laske, 1200A, transformer, S2000 | Cubic | 30093 | 245.7375
1334639 | 0772-0300 | Skinneforbindelse 3, L1/L2/L3/N, S7000/S2000D | Cubic | 30093 | 67.2625
1334697 | 0875-0001 | Laske transformerfelt | Cubic | 30093 | 200.275
1334699 | 0875-0002 | Laske transformerfelt | Cubic | 30093 | 200.3532
1334705 | 0875-0005 | Laske transformerfelt | Cubic | 30093 | 158.4375
1334720 | 0878-0001 | Beslag for tilgangslaske | Cubic | 30093 | 28.878
1334724 | 0878-0004 | Kontaktstykke | Cubic | 30093 | 116.586
1334727 | 0878-0400 | Tilgangslaske | Cubic | 30093 | 711.694
1334921 | 1029-0001 | Sprosselabel, ark, IP54 og type 12 | Cubic | 30093 | 28.98
1334944 | 1173-0003 | Nøgle for dobbeltfliget lås, 3 mm | Cubic | 30093 | 4.7037
1335047 | 2031-0400 | Fjederskive f/cylinderskrue, DIN7980 | Cubic | 30093 | 0.04013
1335067 | 2103-1230 | Pinolskrue, indv. 6 kt. | Cubic | 30093 | 4.6293
1335069 | 2103-1250 | Pinolskrue, indv. 6 kt., A2 | Cubic | 30093 | 11.7112
1335940 | DG1X4 | Glat dæksel | Cubic | 30093 | 48.509
1336720 | PL2 | SOKKELSKINNE 2MD | Cubic | 30093 | 36.0138
1336721 | PL3 | SOKKELSKINNE 3MD | Cubic | 30093 | 54.2586
1336722 | PL4 | SOKKELSKINNE 4MD | Cubic | 30093 | 72.4928
1064997 | PL5 | SOKKELSKINNE 5MD | Cubic | 30093 | 104.1223
1336724 | PL6 | SOKKELSKINNE 6MD | Cubic | 30093 | 119.1773
1336726 | PL8 | SOKKELSKINNE 8MD | Cubic | 30093 | 144.6832
1336728 | PLC | SOKKELHJ_RNE | Cubic | 30093 | 33.2107
1336744 | SF2 | Sokkelforstærkning | Cubic | 30093 | 64.0492
1336745 | SF3 | Sokkelforstærkning | Cubic | 30093 | 99.289
1447038 | 0018-0000Q1 | SPROSSEBESLAG CUBIC 0018-0000 100 | Cubic | 30093 | 5.2652
1447043 | 0061-0000Q1 | 24 Isolationsstykke, Cu 10x30/40/50/60 skinnedelin | Cubic | 30093 | 4.73
1447044 | 0061-0010Q1 | 12 Isolationsstykke, Cu 10x10 skinnedeling | Cubic | 30093 | 2.1858
1447045 | 0061-0020Q1 | 12 Isolationsstykke, Cu 10x20 skinnedeling | Cubic | 30093 | 3.24
1447046 | 0062-0000Q1 | M_TRIKSTYKKE, M10 100 STK | Cubic | 30093 | 5.5563
1447048 | 0070-0000Q1 | KONTAKTSTYKKE, S2000 100 STK | Cubic | 30093 | 5.9572
1447050 | 0071-0000Q1 | 50 Kontaktstykke, 30 mm, skinnekryds | Cubic | 30093 | 15.8344
1447051 | 0073-0000Q1 | 50 Spændestykke, 30 mm, skinnekryds | Cubic | 30093 | 16.4703
1447053 | 0143-0000Q1 | 100 Skinnebeslag. | Cubic | 30093 | 11.455
1447054 | 0315-0001Q1 | 10 Holder for JK | Cubic | 30093 | 7.5359
1447057 | 0558-0001Q1 | 200 Afstandsklods nr. 1, Cu>10x30 for skinneholder | Cubic | 30093 | 5.3169
1447058 | 0558-0002Q1 | 200 Afstandsklods nr. 2, Cu>10x30 for skinneholder | Cubic | 30093 | 4.8059
1447059 | 0558-0003Q1 | AFSTD.KLODS NR. 3 SKINNEHOLDER S2 | Cubic | 30093 | 3.2471
1447075 | 0610-0000Q1 | 50 Hjørneforstærkning | Cubic | 30093 | 16.1253
1447076 | 0641-0000Q1 | 100 Insulating plate | Cubic | 30093 | 5.9834
1447077 | 0641-0001Q1 | 100 Insulating plate, Cu10x10/20/30 | Cubic | 30093 | 4.62
1447079 | 1004-0000Q1 | 100 Fjeder for ID-jern | Cubic | 30093 | 0.90875
1447082 | 1052-0000Q1 | 20 Hængsel 120 grader, inkl. skive | Cubic | 30093 | 10.595
1447084 | 1053-0000Q1 | 40 Hjørne, RF | Cubic | 30093 | 9.41
1447086 | 1056-0000Q1 | AFD_KNING FOR SPROSSESAMLING 500 | Cubic | 30093 | 0.65
1447089 | 1180-0001Q1 | 200 Lukkebøjle | Cubic | 30093 | 2.29
1447091 | 1180-0002Q1 | 100 Lukkebøjle, 1/1½/7/9M | Cubic | 30093 | 3.6
1447095 | 1192-0000Q1 | 100 Dobbeltfliget lås, 3 mm | Cubic | 30093 | 9.5
1447099 | 2009-10100Q1 | 50 Skrue, 6 kt., uden skaft | Cubic | 30093 | 1.5372
1447107 | 2009-1030Q1 | 100 Skrue, 6 kt., uden skaft | Cubic | 30093 | 0.55
1447108 | 2009-1040Q1 | 100 Skrue, 6 kt., uden skaft | Cubic | 30093 | 0.67
1447109 | 2009-1050Q1 | 100 Skrue, 6 kt., uden skaft | Cubic | 30093 | 0.82
1447110 | 2009-1060Q1 | 100 Skrue, 6 kt., uden skaft | Cubic | 30093 | 0.91
1447112 | 2009-1080Q1 | 100 Skrue, 6 kt., uden skaft | Cubic | 30093 | 1.14
1447116 | 2010-4812Q1 | UNDERS_NKET 120 GR M KONT PUNK 50 | Cubic | 30093 | 0.06699
1447117 | 2012-0816Q1 | SKRUE GEVINDFORM HOVED FLANGE 200 | Cubic | 30093 | 1.09
1447118 | 2018-0600Q1 | SP_NDSKIVE, KONISK 200 STK | Cubic | 30093 | 0.1218
1447119 | 2018-0800Q1 | 100 Spændskive, konisk | Cubic | 30093 | 0.1979
1447121 | 2018-1000Q1 | 100 Spændskive, konisk | Cubic | 30093 | 0.487
1447123 | 2018-1200Q1 | SP_NDSKIVE, KONISK 250 STK. | Cubic | 30093 | 0.71532
1447127 | 2037-0800Q1 | 100 Stjerneskive, udv. fortanding | Cubic | 30093 | 0.07952
1447130 | 2176-0000Q1 | 100 Møtrikstykke for lås | Cubic | 30093 | 0.35607
1447132 | 2209-0855Q1 | SKRUE, 6 KT. UDEN SKAFT RUSTFAST | Cubic | 30093 | 1.2631
1447134 | 2209-0875Q1 | 100 Skrue, 6 kt., uden skaft, rustfast | Cubic | 30093 | 1.5828
1447136 | 2275-1064Q1 | 50 Blindprop f. sokkel ø64 RAL 7035 - grå | Cubic | 30093 | 7.65
1447142 | 3040-0812Q1 | SKRUE FOR TAVLESAMMENBYG TORX 200 | Cubic | 30093 | 2.058
1447143 | 3041-0612Q1 | 200 Cylinderskrue, torx, lavt hoved | Cubic | 30093 | 0.25875
1447145 | 3041-0812Q1 | 200 Cylinderskrue, torx, lavt hoved | Cubic | 30093 | 0.37
1447146 | 3045-0610Q1 | SKRUE, GEVINDFORM, TORX, FLANGE 5 | Cubic | 30093 | 0.28
1447150 | 3050-3800Q1 | D_KSELSKRUE M/SKIVE 200 STK. | Cubic | 30093 | 5.74
1447160 | 3101-0610Q1 | CYLINDERSKRUE, TORX, LAVT HOVED 1 | Cubic | 30093 | 0.13704
1447163 | 3101-0616Q1 | CYLINDERSKRUE, TORX, LAVT HOVED 1 | Cubic | 30093 | 0.2739
1447165 | 3101-0630Q1 | CYLINDERSKRUE, TORX, LAVT HOVED 1 | Cubic | 30093 | 0.39927
1447168 | 3101-0816Q1 | 100 Cylinderskrue, torx, lavt hoved | Cubic | 30093 | 0.40506
1447170 | 3101-0820Q1 | 100 Cylinderskrue, torx, lavt hoved | Cubic | 30093 | 0.60406
1447171 | 3102-0612Q1 | SKRUE, UNDERS_NKET, TORX 100 STK | Cubic | 30093 | 0.16741
1447172 | 3102-0816Q1 | SKRUE, UNDERS_NKET, TORX 100 STK. | Cubic | 30093 | 0.28095
1447383 | BEHSQ1 | BESLAG FOR LODRET AFD_KNING VED H | Cubic | 30093 | 5.3686
1447398 | HQ1 | 50 Hjørne. | Cubic | 30093 | 101.8927
1447410 | PEBQ1 | 50 PE-forbindelse, komplet | Cubic | 30093 | 19.5924
1531050 | 0078-0003Q1 | 70 Skinneholder, halvpart, S2000 | Cubic | 30093 | 32.0437
1531106 | 3108-0816Q1 | 100 Skrue, undersænket, torx. | Cubic | 30093 | 0.27391
1998566 | 0120-0420 | Bærejern, Schneider Electric, 4M | Cubic | 30093 | 151.29
1998592 | 0308-0000 | Beslag for ACB bærejern, HS | Cubic | 30093 | 22.945
1998952 | 8324-0111 | Laske pos. 1 nr. 1, DW, NW16-20, ACB | Cubic | 30093 | 165.3
1998953 | 8324-0112 | Laske pos. 1 nr. 2, DW, NW16-20, ACB | Cubic | 30093 | 197.58
1998954 | 8324-0121 | Laske pos. 2 nr. 1, DW, NW16-20, ACB | Cubic | 30093 | 155.07
1998955 | 8324-0122 | Laske pos. 2 nr. 2, DW, NW16-20, ACB | Cubic | 30093 | 168.25
1999029 | 8332-0011 | Laske pos. 1, nr. 1, Schneider NW32 | Cubic | 30093 | 422.5233
1999030 | 8332-0012 | Laske pos. 1, nr. 2, Schneider NW32 | Cubic | 30093 | 445.5333
1999031 | 8332-0013 | Laske pos. 1, nr. 3, Schneider NW32 | Cubic | 30093 | 505.3133
1999032 | 8332-0014 | Laske pos. 1, nr. 4, Schneider NW32 | Cubic | 30093 | 528.32
1999033 | 8332-0021 | Laske pos. 2, nr. 1, Schneider NW32 | Cubic | 30093 | 415.74
1999034 | 8332-0022 | Laske pos. 2, nr. 2, Schneider NW32 | Cubic | 30093 | 438.74
1999035 | 8332-0023 | Laske pos. 2, nr. 3, Schneider NW32 | Cubic | 30093 | 500.94
1999036 | 8332-0024 | Laske pos. 2, nr. 4, Schneider NW32 | Cubic | 30093 | 523.9533
1999170 | 8349-0211 | Laske pos. 1, nr. 1, Schneider NS1600 3P Rotary MC | Cubic | 30093 | 139.0938
1999181 | 8349-0212 | Laske pos. 1, nr. 2, Schneider NS1600 4P Rotary MC | Cubic | 30093 | 137.9931
1999182 | 8349-0221 | Laske pos. 2, nr. 1, Schneider NS1600 4P Rotary MC | Cubic | 30093 | 144.7346
1999183 | 8349-0222 | Laske pos. 2, nr. 2, Schneider NS1600 4P Rotary MC | Cubic | 30093 | 137.9931
1999184 | 8349-0231 | Laske pos. 3, nr. 1, Schneider NS1600 4P Rotary MC | Cubic | 30093 | 142.49
1999185 | 8349-0232 | Laske pos. 3, nr. 2, Schneider NS1600 4P Rotary MC | Cubic | 30093 | 137.9931
1999186 | 8349-0241 | Laske pos. 4, nr. 1, Schneider NS1600 4P Rotary MC | Cubic | 30093 | 142.4
1999187 | 8349-0242 | Laske pos. 4, nr. 2, Schneider NS1600 4P Rotary MC | Cubic | 30093 | 137.9931
1999188 | 8349-0311 | Laske pos. 1, nr. 1, Schneider NS1600 4P Motor MCC | Cubic | 30093 | 213.1062
1999189 | 8349-0312 | Laske pos. 1, nr. 2, Schneider NS1600 4P Motor MCC | Cubic | 30093 | 212.7326
1999190 | 8349-0321 | Laske pos. 2, nr. 1, Schneider NS1600 4P Motor MCC | Cubic | 30093 | 212.9671
1999191 | 8349-0322 | Laske pos. 2, nr. 2, Schneider NS1600 4P Motor MCC | Cubic | 30093 | 212.7326
1999192 | 8349-0331 | Laske pos. 3, nr. 1, Schneider NS1600 4P Motor MCC | Cubic | 30093 | 212.9671
1999193 | 8349-0332 | Laske pos. 3, nr. 2, Schneider NS1600 4P Motor MCC | Cubic | 30093 | 214.1818
1999194 | 8349-0341 | Laske pos. 4, nr. 1, Schneider NS1600 4P Motor MCC | Cubic | 30093 | 212.8433
1999195 | 8349-0342 | Laske pos. 4, nr. 2, Schneider NS1600 4P Motor MCC | Cubic | 30093 | 212.6325
2112004 | 0059-0003 | Beslag for jording | Cubic | 30093 | 23.7623
2112192 | 3039-0810Q1 | 200 Cylinderskrue, torx, lavt hoved, med kontaktpu | Cubic | 30093 | 0.32973
2112452 | 6820-0208Q1 | 200 Tætningsliste | Cubic | 30093 | 3.22
2160135 | 1055-1000 | Låsebeslag for RT | Cubic | 30093 | 7.9894
2169732 | 2001-402 | Laske lysegrå | Cubic | 30093 | 0.66493
2185833 | 9030+0040 | PLC with M12 Nut 9030+0040 | Cubic | 30093 | 48.77
2185834 | 1055-1001 | 1055-1001 | Cubic | 30093 | 26.7243
2185835 | 9030+2970 | Cubic Swingframe 9030+2970 | Cubic | 30093 | 403.7523
1001924 | 0018-0000 | SPROSSEBESLAG CUBIC 0018-0000 | Cubic | 30093 | 6.3894
1001055 | 0061-0010 | Isolationsstykke, Cu 10x10 skinnedeling | Cubic | 30093 | 2.5161
1001056 | 0061-0020 | ISOL.STYK. CU10X20 SKINNEDELING | Cubic | 30093 | 3.9333
1001492 | 0062-0000 | M_TRIKSTYKKE CUBIC 0062-0000 | Cubic | 30093 | 6.9371
1001169 | 0070-0000 | KONTAKTSTYKKE 5MM CUB.0070-0000 | Cubic | 30093 | 7.227
1001168 | 0071-0000 | Kontaktstykke, 30 mm, skinnekryds | Cubic | 30093 | 19.1133
1001927 | 0073-0000 | Sp_ndestykke, 30 mm, skinnekryds | Cubic | 30093 | 19.9825
1531049 | 0078-0003 | Skinneholder, halvpart, S2000 | Cubic | 30093 | 38.8514
1001821 | 0143-0000 | SKINNEBESLAG | Cubic | 30093 | 13.785
1000960 | 0315-0001 | HOLDER FOR JK | Cubic | 30093 | 9.1312
1000311 | 0558-0001 | Afstd.klods nr 1 Cu>10x30 skinneh | Cubic | 30093 | 6.44
1000312 | 0558-0002 | Afstd.klods nr 2 Cu>10x30 skinneh | Cubic | 30093 | 5.8236
1145034 | 0558-0003 | AF.KLODS NR.3 CU<10X30 F. SKINNEH | Cubic | 30093 | 3.9376
1334476 | 0610-0000 | Hjørneforstærkning | Cubic | 30093 | 19.5637
1001054 | 0641-0001 | ISOLATIONSPLADE CU10X10/20/30 | Cubic | 30093 | 5.6075
1000742 | 1004-0000 | FJEDER F. ID 1004-0000 | Cubic | 30093 | 1.105
1063487 | 1052-0000 | H_NGSEL CUBIC 1052-0000 | Cubic | 30093 | 12.8482
1000954 | 1053-0000 | HJ_RNE, RF | Cubic | 30093 | 12.0953
1000297 | 1056-0000 | AFD_KNING F/SPROSS. 1056-0000 | Cubic | 30093 | 0.71318
1001307 | 1180-0001 | LUKKEB_JLE 1180-0001 | Cubic | 30093 | 3.4084
1063409 | 1192-0000 | DOBBELTFLIGET L_S, 3MM | Cubic | 30093 | 14.25
1334995 | 2009-10100 | Skrue, 6 kt., uden skaft | Cubic | 30093 | 5.5982
1334999 | 2009-10120 | Skrue, 6 kt., uden skaft | Cubic | 30093 | 8.88
1063292 | 2009-1030 | SKRUE DIN933 2009-1030 | Cubic | 30093 | 1.325
1005272 | 2009-1040 | S_TSKRUE M10X40 2009-1040 | Cubic | 30093 | 1.6471
1335015 | 2009-1050 | Skrue, 6 kt., uden skaft | Cubic | 30093 | 2.08
1005273 | 2009-1060 | SKRUE 6KT. UDEN SKAFT | Cubic | 30093 | 2.49
1136514 | 2009-1080 | SKRUE 6KT. UDEN SKAFT | Cubic | 30093 | 3.885
1139706 | 2010-4812 | UNDERS_NKET 120 GR., M. KONTAKT P | Cubic | 30093 | 0.4275
1001848 | 2012-0816 | SKRUE GEVINDFORM. 6KT. HOVED FLAN | Cubic | 30093 | 4.225
1005405 | 2018-0600 | TALLERKENSKIVE M6 2018-0600 | Cubic | 30093 | 0.38833
1005406 | 2018-0800 | TALLERKENSKIVE M8 2018-0800 | Cubic | 30093 | 0.5796
1005407 | 2018-1000 | TALLERKENSKIV.DIN6796 2018-1000 | Cubic | 30093 | 1.6442
1005408 | 2018-1200 | TALLERKENSKIV.DIN6796 2018-1200 | Cubic | 30093 | 2.719
1001985 | 2037-0800 | STJERNESKIVE, UDV. FORTANDING | Cubic | 30093 | 0.22067
1001491 | 2176-0000 | M_TRIKSTYKKE FOR L_S | Cubic | 30093 | 4.1664
1005278 | 2209-0855 | SKRUE, 6 KT., UDEN SKAFT, RUSTFAS | Cubic | 30093 | 2.838
1005279 | 2209-0865 | Skrue, 6 kt., uden skaft, rustfast | Cubic | 30093 | 4.22
1136518 | 2275-1064 | BLINDPROP F. SOKKEL _64 SOKKEL | Cubic | 30093 | 14.7287
2112191 | 3039-0810 | Cylinderskrue, torx, lavt hoved, med konkaktpt. | Cubic | 30093 | 1.15
1063206 | 3040-0812 | SKRUE FOR TAVLESAMMENBYGNING | Cubic | 30093 | 2.0517
1063208 | 3041-0612 | CYLINDERSKRUE, TORX, LAVT HOVED | Cubic | 30093 | 1.09
1063209 | 3041-0812 | CYLINDERSKRUE, TORX, LAVT HOVED | Cubic | 30093 | 1.0444
1001853 | 3045-0610 | SKRUE, GEVINDFORMEDE, TORX | Cubic | 30093 | 1.25
1063205 | 3045-0614 | SKRUE, GEVINDFORMEDE, TORX | Cubic | 30093 | 1.43
1063478 | 3050-3800 | D_KSELSKRUE MED SKIVE | Cubic | 30093 | 8.348
1531098 | 3062-0150 | Kabelbakke 150mm | Cubic | 30093 | 164.295
1531099 | 3062-0300 | Kabelbakke 300mm | Cubic | 30093 | 221.57
1063218 | 3101-0610 | CYLINDERSKRUE, TORX | Cubic | 30093 | 0.5175
1063220 | 3101-0616 | CYLINDERSKRUE, TORX | Cubic | 30093 | 0.48333
1063222 | 3101-0630 | CYLINDERSKRUE, TORX | Cubic | 30093 | 0.715
1000537 | 3101-0816 | CYLINDERSKRUE, TORX | Cubic | 30093 | 0.69
1447169 | 3101-0820 | Cylinderskrue, torx | Cubic | 30093 | 0.9575
1063229 | 3102-0612 | SKRUE, UNDERS_NKET, TORX | Cubic | 30093 | 0.48278
1001854 | 3102-0816 | SKRUE, UNDERS_NKET, TORX | Cubic | 30093 | 0.7325
1531105 | 3108-0816 | Skrue, undersænket, torx, med 2 kontaktpunkter | Cubic | 30093 | 1.4487
1000437 | BEHS | BESLAG LODRET BEHS HS0939-0000 | Cubic | 30093 | 6.52
2010401 | 6820-0208 | Tætningsliste | Cubic | 30093 | 3.22
2208236 | 080Z0251 | AK2-AK-OB 110 2 ch AO expansion board | Danfoss | 30087 | 450
2208238 | 080Z0192 | Anlægsstyringer, AK-PC 782A | Danfoss | 30087 | 3611.038
2208239 | 080G0297 | Kontrolpanel, MMIGRS2 | Danfoss | 30087 | 611.4233
2208240 | 080Z0191 | AK-PC 781A Pack Controller | Danfoss | 30087 | 3610
2208242 | 080Z0023 | I/O module, AK-XM 208C | Danfoss | 30087 | 950
2208243 | 080Z0010 | I/O modul, AK-XM 205A | Danfoss | 30087 | 950
2208244 | 080Z0202 | AK-PC 782B Pack Controller | Danfoss | 30087 | 3580
2208245 | 080Z0013 | I/O modul, AK-XM 102B | Danfoss | 30087 | 684
2208246 | 080Z4021 | System Manager AK-SM 850A Controller | Danfoss | 30087 | 7750.66
2208247 | 080Z0032 | I/O modul, AK-XM 103A | Danfoss | 30087 | 989.9181
2208250 | 080G0076 | Cable for AK-MMI LCD Display 3m | Danfoss | 30087 | 27.9828
2208254 | 080Z0064 | AK-CM 102 Control Comm. Module | Danfoss | 30087 | 499
2208255 | FDS041 | AK2 gateway (modbus TCP + BACnet/IP) M2M2 | Danfoss | 30087 | 6000
2208256 | 080X2010 | AI Filter for EKF | Danfoss | 30087 | 0.00636
2208257 | 080G5030 | EKF1A valve driver | Danfoss | 30087 | 220
2208258 | 080G5035 | EKF2A valve driver | Danfoss | 30087 | 317
2213204 | 084B8575 | EKA 164B, Display, Remote setting, EKC | Danfoss | 30087 | 172.44
2213382 | 084B7299 | Cable 6m, EKA displays, S/M-Pack | Danfoss | 30087 | 197.6
2214270 | 080Z0194 | AK-PC 781B Pack Controller | Danfoss | 30087 | 12400
2214312 | 080G0342 | X-Gate, Accessory | Danfoss | 30087 | 3809.28
2214783 | 080Z0007 | I/O module, AK-XM 101A | Danfoss | 30087 | 0
2185821 | 39.00.8.230.8240 | FINDER 39.00.8.230.8240 | FINDER | 30094 | 261.8673
2204470 | SDD07550 | Vikas SDD 75/50 43 SH | IAC Nordic A/S | 30599 | 14.2465
1292219 | 2170222 | UNITRONIC BUS PB FD P 1X2X0,64 | LAPP | 30116 | 12.8374
2186107 | 87701272 | ZL-MH 60/6 - 87701272 | Murrplastik | 30089 | 22.7541
2190773 | 87701278 | Murrplastik ZL-MH 87/6 | Murrplastik | 30089 | 22.9905
2190774 | 87701288 | Murrplastik ZL-MH 180/6 | Murrplastik | 30089 | 28.1754
2193744 | 87701270 | ZL-MH 39/6 brass grommets, assembly with M6 screws | Murrplastik | 30089 | 22.7073
2214279 | MP8610200149 | LM 100x50m silver/black adhesive | Murrplastik | 30089 | 22.2664
2214280 | MP8610200148 | LM 70x18mm silver/black adhesive | Murrplastik | 30089 | 7.9322
2214281 | MP8610200146 | LM 60x20mm silver/black adhesive | Murrplastik | 30089 | 8.9085
2214282 | MP8610200147 | LM 60x40mm yellow/black adhesive | Murrplastik | 30089 | 22.2664
1005474 | SUL96C-234230 | SUL-IP00,250VA,230-400V/230V | Noratel | 30026 | 509.088
1077855 | SUL120B-234230 | SUL-IP00,400VA,230-400V/230V | Noratel | 30026 | 435
1077856 | SUL150A-234230 | SUL-IP00,630VA,230-400V/230V | Noratel | 30026 | 680
1077858 | SUL150C-234230 | SUL-IP00,1000VA,230-400V/230V | Noratel | 30026 | 885
1910857 | 1BD | Skinneholder 1BD for CT strøm-måletransformer | Noratel | 30026 | 8
1910861 | 1BL | Skinneholder 1BL for CT strøm-måletransformer | Noratel | 30026 | 10.1763
2185830 | 4-083-001824 | 4-083-001824 - V3 600/5 5VA cl0.5 | Noratel | 30026 | 104
2185963 | 4-083-001098 | L60X 1500/5A 10VA Cl 0.2S Garre CT | Noratel | 30026 | 315.5
2186810 | 4-083-000875 | 800/5 A, KL 0,2S, 5VA, (L60X, 800/5) | Noratel | 30026 | 304.6667
2187071 | 4-083-000406 - 400/5 | 4-083-000406 - 400/5 A, KL 0,5, 2VA, V3 | Noratel | 30026 | 95
2193058 | 8-083-005810 | 800/5 A, KL 0,2S, 5VA, D40 | Noratel | 30026 | 238
2193637 | 4-083-000415 | 4-083-000415 - Current transformer, 300A / 5A (HF3 | Noratel | 30026 | 98
2193673 | 4-083-001589 - CT | CT, 1200A / 5A (HF5) (L60X, 1200/5) | Noratel | 30026 | 324
2193710 | 1BV | CT Busbar holder for HF3B type | Noratel | 30026 | 8
2193802 | 4-083-000206 | CT 1000/5A 0,2S 7,5VA | Noratel | 30026 | 308.625
2197161 | 8-083-020200 | CT 200A / 5A (V3, 200/5) | Noratel | 30026 | 98
2206662 | 4-083-000791 | D40 200/5 1,5VA 0.2S | Noratel | 30026 | 239
2214782 | 4-083-001325 | D40 400/5A 3VA Cl 0.2S | Noratel | 30026 | 0
1865206 | 268-2610 | Installationskabel, 2m Sort, 10 A, C13, IEC | RS | 30094 | 92.824
1000263 | LC1D65AP7 | KONTAKTOR TESYS D 65A 230VAC 3NO | Schneider | 30094 | 394.1522
1000408 | A9F04102 | AUTOMATSIKRING IC60N 1P 2A C | Schneider | 30094 | 34.732
1000409 | A9F04104 | AUTOMATSIKRING IC60N 1P 4A C | Schneider | 30094 | 43.319
1000410 | A9F04106 | AUTOMATSIKRING IC60N 1P 6A C | Schneider | 30094 | 29.3633
1000411 | A9F04610 | AUTOMATSIKR. IC60N 1P+N 10A C | Schneider | 30094 | 23.1636
1000421 | A9F04310 | AUTOMATSIKRING IC60N 3P 10A C | Schneider | 30094 | 59.3912
1000569 | XB4BK123M5 | DREJEAFBR. GR_N XB4BK123M5 | Schneider | 30094 | 110.3963
1000924 | LADN11 | HJ_LPEBLOK 1SL+1BR LADN11 | Schneider | 30094 | 24.6029
1000991 | GV2ME06 | HÅNDBETJ.MOTORV. 1-1,6A GV2ME06 | Schneider | 30094 | 186.6288
1000992 | GV2ME21 | HÅNDBETJ.MOTORV. 17-23A GV2ME21 | Schneider | 30094 | 184.0633
1000994 | GV2ME22 | H_NDBETJ.MOTORV. 20-25A GV2ME22 | Schneider | 30094 | 273.9
1000995 | GV2ME32 | H_NDBETJ.MOTORV. 24-32A GV2ME32 | Schneider | 30094 | 304.1707
1000996 | GV2P32 | H_NDBETJ.MOTORV. 24-32A GV2P32 | Schneider | 30094 | 270.5029
1000997 | GV2ME14 | HÅNDBETJ.MOTORV.6,3-10A GV2ME14 | Schneider | 30094 | 182.56
1001100 | LV432594 | KLEMMEAFD. LANG 4P T/NSX400-630 | Schneider | 30094 | 56.2758
1001105 | GV1G09 | KLEMMETILSLUTNING GV1-G09 | Schneider | 30094 | 27.2149
1001135 | ZBE102 | KONTAKTELEMENT 1BR ZBE102 | Schneider | 30094 | 12.45
1001143 | LC1D12P7 | KONTAKTOR TESYS D 12A 230VAC 3NO | Schneider | 30094 | 71.0711
1001147 | LC1D25P7 | KONTAKTOR TESYS D 25A 230VAC 3NO | Schneider | 30094 | 155.3127
1001152 | LC1D38P7 | KONTAKTOR 38A 230V AC LC1D38P7 | Schneider | 30094 | 506.8576
1001197 | XB4BVB3 | LAMPE GR_N 24VAC/DC XB4BVB3 | Schneider | 30094 | 37.91
1001412 | GV2P20 | MOTORV_RN 13 -18 A GV2P20 | Schneider | 30094 | 192.1591
1001413 | GV2P21 | MOTORVÆRN 17 -23 A GV2P21 | Schneider | 30094 | 194.0543
1001415 | GV2P22 | MOTORV_RN 20 -25 A GV2P22 | Schneider | 30094 | 190.226
1001417 | GV2RT14 | MOTORV_RN 6,0-10,0A GV2-RT14 | Schneider | 30094 | 168.766
1001434 | GV3P32 | MOTORVÆRN 23-32A | Schneider | 30094 | 943.3458
1001435 | GV3P40 | MOTORVÆRN 30-40A | Schneider | 30094 | 421.9787
1001436 | GV3P50 | MOTORVÆRN 37-50A | Schneider | 30094 | 458.8232
1001439 | GV3P65 | MOTORVÆRN 48-65A | Schneider | 30094 | 693.4686
1001441 | GV2P14 | MOTORVÆRN 6,0 -10 A GV2P14 | Schneider | 30094 | 226.4256
1001445 | GV2P16 | MOTORVÆRN 9,0 -14 A GV2P16 | Schneider | 30094 | 212.9975
1001519 | XB4BS8445 | N_DSTOP _40 R_D XB4BS8445 | Schneider | 30094 | 76.59
1001739 | GV2G445 | SAMLESKINNE F/4GV2 45MM GV2G445 | Schneider | 30094 | 37.2757
1001740 | GV2G245 | SAMLESKINNE T/GV2 GV2-G245 | Schneider | 30094 | 20.3924
1001741 | GV2G345 | SAMLESKINNE T/GV2 M/3. GV2-G345 | Schneider | 30094 | 26.7988
1001764 | XB4BVM3 | SIGNALLAMPE GR_N XB4BVM3 | Schneider | 30094 | 79.2837
1001767 | XB4BVM4 | SIGNALLAMPE R_D XB4BVM4 | Schneider | 30094 | 48.6482
1001802 | 29450 | SKIFTEKONTAKT 1 SL/BR NS80/630 | Schneider | 30094 | 64.4907
1001810 | ZBY9101 | SKILT RUNDT GUL/HVID ZBY9101 | Schneider | 30094 | 8.6437
1001892 | RXZE2S114M | SOKKEL TIL RXM4 | Schneider | 30094 | 11.8484
1002101 | GV2AF3 | TILSLUTNINGSKLEMME GV2AF3 | Schneider | 30094 | 12.7744
1009658 | LC1D150P7 | KONTAKTOR 150A 230VAC LC1D150P7 | Schneider | 30094 | 1400.3493
1011452 | FC CU 1X185MM2 T4 | KABELTERM. TIL CU-KABEL T4 4P | Schneider | 30094 | 130.8754
1011850 | LC1D18P7 | KONTAKTOR TESYS D 18A 230VAC 3NO | Schneider | 30094 | 88.0686
1012387 | XB4BW34M5 | LAMPETRYK R_D SL+BR XB4BW34M5 | Schneider | 30094 | 180.68
1012583 | XB4BW36M5 | LAMPETRYK BL_ 230-240V AC | Schneider | 30094 | 95.025
1012877 | GVAE1 | HJ_LPEKON.1SL ELL.1BR,FRT.GVAE1 | Schneider | 30094 | 20.8494
1013201 | LC1D32P7 | KONTAKTOR TESYS D 32A 230VAC 3NO | Schneider | 30094 | 211.854
1013388 | LC1D50AP7 | KONTAKTOR TESYS D 50A 230VAC 3NO | Schneider | 30094 | 295.5567
1016012 | 31111 | LASTDASKILLER INS400 400A 4P | Schneider | 30094 | 797.401
1016304 | 18656 | MAKSIMAL-AFBR. NG125N C 63A 4P | Schneider | 30094 | 893.685
1017033 | LA1KN40 | HJ_LPEBLOK 4SL F/MINI K.LA1KN40 | Schneider | 30094 | 35.9233
1017556 | LC1D80P7 | KONTAKTOR 80A 230V AC LC1D80P7 | Schneider | 30094 | 512.5672
1017644 | LC1D95P7 | KONTAKTOR TESYS D 95A 230VAC 3NO | Schneider | 30094 | 704.0008
1017903 | LC1D40AP7 | KONTAKTOR 40A 3P+1N0+1NC 230VAC | Schneider | 30094 | 671.38
1018089 | GV2ME10 | HÅNDBETJ.MOTORV. 4-6,3A GV2ME10 | Schneider | 30094 | 131.302
1018431 | 31109 | LASTADSKILLER INS320 4P | Schneider | 30094 | 720.8717
1018982 | 18653 | MAKSIMAL-AFBR. NG125N C 32A 4P | Schneider | 30094 | 1426.7744
1019073 | GV2ME16 | HÅNDBETJ.MOTORV. 9-14A GV2ME16 | Schneider | 30094 | 176.1297
1020742 | GV1L3 | STR_MBEGR_NSER KA100 GV1-L3 | Schneider | 30094 | 150.1767
1020991 | ZBY8101 | SKILT RUNDT GUL/HVID ZBY8101 | Schneider | 30094 | 9.69
1022561 | GV2ME20 | H_NDBETJ.MOTORV. 13-18A GV2ME20 | Schneider | 30094 | 152.8867
1022719 | 31107 | LASTADSKILLER INS250 250A 4P | Schneider | 30094 | 583.3325
1023113 | 31115 | LASTDASKILLER INS630 630A 4P | Schneider | 30094 | 1298.6733
1023381 | RXM4GB2BD | STIKBENSREL_ 3A 4C/O LED 24VDC | Schneider | 30094 | 29.0125
1023459 | 18654 | MAKSIMAL-AFBR. NG125N C 40A 4P | Schneider | 30094 | 838.15
1024593 | RXM4GB2P7 | STIKBENSREL_ 3A 4C/O LED 230VAC | Schneider | 30094 | 25.7889
1025632 | NSYCAG223LPF | FILTER 268X248MM UDS.223X223MM | Schneider | 30094 | 61.9652
1025706 | NSYCVF300M230PF | VENTILATOR M/FILT 300M/T 230VAC | Schneider | 30094 | 480.7687
1027234 | LV429219 | KLEMMES_T 2X50-120MM2 CU/AL 4ST | Schneider | 30094 | 132.5737
1027246 | LV429243 | KLEMMES_T 1,5-95MM3 CU/AL 4STK | Schneider | 30094 | 30.1728
1027248 | LV429249 | KLEMMESÆT 6//1,5-35MM2 4STK | Schneider | 30094 | 279.46
1027313 | LV429387 | SPOLE MX 220-240VAC NSX100-630 | Schneider | 30094 | 128.9917
1027362 | LV429515 | KLEMMEAFD. KORT 3P T/NSX100-250 | Schneider | 30094 | 47.7373
1027364 | LV429518 | KLEMMEAFD. LANG 4P T/NSX100-250 | Schneider | 30094 | 32.875
1027416 | LV431061 | SPREDERBLOK 35/45MM 4P T/NSX | Schneider | 30094 | 273.798
1027517 | LV432482 | KLEMMES_T 2//35-300MM2 4STK | Schneider | 30094 | 354.6783
1027523 | LV432491 | SPREDERS_T 52,5MM 4P NSX400-630 | Schneider | 30094 | 120.3214
1027566 | LV432596 | KLEMMEAFD. 52,5MM 3P NSX400-630 | Schneider | 30094 | 74.5607
1039092 | LC1K0610P7 | KONTAKTOR 6A 3SL+1SL LC1K0610P7 | Schneider | 30094 | 111.1911
1039963 | RM35UB330 | SP_NDINGS 3F 220-480V 2C/O 5A | Schneider | 30094 | 308.25
1045207 | A9XPE410 | ENDED_KSEL 4P SKINNE, 10 STK | Schneider | 30094 | 6.4068
1045336 | A9XPE210 | ENDED_KSEL 2P SKINNE, 10 STK | Schneider | 30094 | 8.2051
1045337 | A9XPE310 | ENDED_KSEL 3P SKINNE | Schneider | 30094 | 14.1907
1045417 | A9XPH257 | SL_JFESKINNE 2P 100A 57M | Schneider | 30094 | 142.067
1045419 | A9XPH357 | SL_JFESKINNE 3P 100A 57M | Schneider | 30094 | 213.386
1045422 | A9XPH457 | SL_JFESKINNE 4P 100A 57M | Schneider | 30094 | 351.9429
1045426 | A9XPH557 | SL_JFESKINNE NL1/NL2/NL3 100A 5 | Schneider | 30094 | 345.5848
1046127 | A9MEM3255 | KWH-M_LER 3P+N 400V CT X/5 MODB | Schneider | 30094 | 898.192
1047388 | A9F07310 | AUTOMATSIKRING IC60H 3P 10A C | Schneider | 30094 | 120.2088
1047403 | A9F07410 | AUTOMATSIKRING IC60H 4P 10A C | Schneider | 30094 | 120.145
1047405 | A9F07416 | AUTOMATSIKRING IC60H 4P 16A C | Schneider | 30094 | 274.8413
1047413 | A9F07610 | AUTOMATSIKR. IC60H 1P+N 10A C | Schneider | 30094 | 43.3233
1047585 | A9F94210 | AUTOMATSIKRING IC60L 2P 10A C | Schneider | 30094 | 128.375
1047598 | A9F94310 | AUTOMATSIKRING IC60L 3P 10A C | Schneider | 30094 | 207.9394
1047734 | A9W21225 | HPFI MOD IC60 2P 25A 30MA KL.A | Schneider | 30094 | 306.38
1075487 | A9F04103 | AUTOMATSIKRING IC60N 1P 3A C | Schneider | 30094 | 58.8425
1075507 | A9F04304 | AUTOMATSIKRING IC60N 3P 4A C | Schneider | 30094 | 96.2916
1075510 | A9F04316 | AUTOMATSIKRING IC60N 3P 16A C | Schneider | 30094 | 84.6747
1075512 | A9F04325 | AUTOMATSIKRING IC60N 3P 25A C | Schneider | 30094 | 96.7156
1075514 | A9F04340 | AUTOMATSIKRING IC60N 3P 40A C | Schneider | 30094 | 145.6258
1075515 | A9F04350 | AUTOMATSIKRING IC60N 3P 50A C | Schneider | 30094 | 132.0445
1075534 | A9F04604 | AUTOMATSIKR. IC60N 1P+N 4A C | Schneider | 30094 | 116.6427
1075547 | A9F04704 | AUTOMATSIKR. IC60N 3P+N 4A C | Schneider | 30094 | 245.8562
1075549 | A9F04710 | AUTOMATSIKR. IC60N 3P+N 10A C | Schneider | 30094 | 43.8909
1075551 | A9F04716 | AUTOMATSIKR. IC60N 3P+N 16A C | Schneider | 30094 | 84.4174
1075554 | A9F04732 | AUTOMATSIKR. IC60N 3P+N 32A C | Schneider | 30094 | 176.2438
1075577 | A9F05204 | AUTOMATSIKRING IC60N 2P 4A D | Schneider | 30094 | 151.3388
1075903 | A9XPCM04 | TILGANGSKLEMME 1P 100A LANG, 4 ST | Schneider | 30094 | 62.8635
1139430 | 31053 | DREJEGREB R/G TIL INS320-630 | Schneider | 30094 | 211.84
1141115 | 33608 | Front connection 1000A NS TOP 4P F | Schneider | 30094 | 1045.84
1141165 | LV431051 | DREJEGREB R_D/GUL TIL INS250 | Schneider | 30094 | 124.7214
1348714 | RGZE1S48M | 2CO SEPARAT SOKKEL MED CLIPS | Schneider | 30094 | 21.6196
1348728 | RXG22BD | 2CO 5A RELÆ TESTKNAP+LED 24VDC | Schneider | 30094 | 15.9966
1348729 | RXG22P7 | 2CO 5A REL_ TESTKNAP+LED230VAC | Schneider | 30094 | 22.2929
1466344 | RE22R1AMR | TIMER FORSINKET TILTRÆK 1C/O 24-2 | Schneider | 30094 | 172.0575
1466348 | RE22R1KMR | TIMER FRAFALD FORSYN.STYRET 1C/O | Schneider | 30094 | 155.75
1468181 | 14814 | Sløjfeskinne NG125 4P 4 afb. | Schneider | 30094 | 480.61
1468313 | 18636 | Maks.afbr. NG125N C 32A 3P | Schneider | 30094 | 581.695
1468396 | 18815 | Maks.afbr. NG125L C 40A 4P | Schneider | 30094 | 1519.4343
1469657 | SE.33609 | Front connection 1000A NS BOTTOM 4P F | Schneider | 30094 | 1045.84
1469658 | 33610 | Frontforb. top 1250A NS 4P Fast | Schneider | 30094 | 103.4533
1469659 | 33611 | Frontforb. bund 1250A NS 4P F | Schneider | 30094 | 103.4533
1469660 | 33612 | Frontforb. top 1600A NS 4P Fast | Schneider | 30094 | 82.744
1469661 | 33613 | Frontforb. bund 1600A NS 4P F | Schneider | 30133 | 413.72
1469664 | 33623 | Spredersæt 4P 630-1600A NS/NT | Schneider | 30094 | 410.1333
1469667 | 33641 | Klemme 4x240mm2+kl.afsk. 4 stk | Schneider | 30094 | 1508.428
1474497 | GV3G264 | Samleskinne til 2 stk GV3P/L | Schneider | 30094 | 59.3391
1474498 | GV3G364 | Sløjfeskinne til 3 stk GV3P/L | Schneider | 30094 | 50.3639
1484927 | RE17LCBM | Tidsrelæ forsinket ud v/kont.SS 1s-100h | Schneider | 30094 | 230.53
1831738 | GV3P80 | MOTORVÆRN 70-80A TERMO/MAG EVERLINK | Schneider | 30094 | 627.077
2098059 | ABLM1A24012 | STRØMFORSYNING 24V 1.2A MODULAR | Schneider | 30094 | 326.1069
2098097 | ABLM1A24025 | STRØMFORSYNING 24V 2.5A MODULAR | Schneider | 30094 | 400.71
2139870 | 33879 | Drejegreb m/dørkobling rød/gul | Schneider | 30094 | 1045.84
2158728 | C1032G040 | Relæ Micrologic 2,2G 3P 40A | Schneider | 30094 | 386.85
2158729 | C1032G100 | Relæ Micrologic 2,2G 3P 100A | Schneider | 30094 | 816.505
2158736 | C1034V100 | Mic, 4,2 3P 100A NSX100-250 Ue-max: 440V | Schneider | 30094 | 1723.1133
2158798 | C10B3 | Maks,afbr, NSX100B u/relæ 3P | Schneider | 30094 | 923.93
2158807 | C10B3TM080 | Maks,afbr, NSX100B+TM80D 3P3D | Schneider | 30094 | 560.355
2158808 | C10B3TM100 | Maks,afbr, NSX100B+TM100D 3P3D | Schneider | 30094 | 554.8833
2158928 | C10N3 | Maks,afbr, NSX100N u/relæ 3P | Schneider | 30094 | 398.8682
2158942 | C10N3TM063 | Maks,afbr, NSX100N+TM63D 3P3D | Schneider | 30094 | 1029.82
2158943 | C10N3TM080 | Maks,afbr, NSX100N+TM80D 3P3D | Schneider | 30094 | 994.4695
2158944 | C10N3TM100 | Maks,afbr, NSX100N+TM100D 3P3D | Schneider | 30094 | 1040.4245
2159353 | C1632G160 | Relæ Micrologic 2,2G 3P 160A | Schneider | 30094 | 561.4764
2159356 | C1634V160 | Mic, 4,2 3P 160A NSX160-250 Ue-max: 440V | Schneider | 30094 | 1780.942
2159381 | C16B3 | Maks,afbr, NSX160B u/relæ 3P | Schneider | 30094 | 663.6088
2159387 | C16B3TM160 | Maks,afbr, NSX160B+TM160D 3P3D | Schneider | 30094 | 991.7047
2159444 | C16N3 | Maks,afbr, NSX160N u/relæ 3P | Schneider | 30094 | 621.0489
2159452 | C16N3TM160 | Maks,afbr, NSX160N+TM160D 3P3D | Schneider | 30094 | 1090.3392
2159696 | C404400S | Lastadskiller NSX400NA 400A 4P | Schneider | 30094 | 1845.492
2159799 | C634630S | Latadskiller NSX630NA 630A 4P | Schneider | 30094 | 2995.4522
2159876 | LV432600T | Drejegreb+dørk, Rød/gul til NSX400-630 | Schneider | 30094 | 256.0688
2185536 | JSAC-CTEC 2403-1 | AC C-TEC 2403-1 | Schneider | 30094 | 1576.222
2186931 | A9A26909 | Acti9 kontakt iSD+OF 2OC 100mA til 6A | Schneider | 30094 | 92.2062
2193671 | C125S4FM | ComPacT NS1250 NA, 4P, 1.250 A / 690 V | Schneider | 30094 | 4536.77
2193767 | C080S4FM | ComPacT NS800 type NA, 4P, fix | Schneider | 30094 | 4183.34
2206766 | C160S4FM | C160S4FM - ComPacT NS1600 NA, 4P | Schneider | 30094 | 5816.15
2214725 | C080S4FM_ADV_kit | GCR_C630_1600SD_2198768 | Schneider | 30094 | 0
2214726 | C125S4FM_ADV_kit | GCR_C630_1600SD_2201532 | Schneider | 30094 | 0
2214727 | C160S4FM_ADV_kit | GCR_C630_1600SD_2201540 | Schneider | 30094 | 0
1206573 | 3VA1096-3ED36-0AA0 | CIRCUIT BREAKER 3VA1 IEC FRAME 100 BREAKING CAPACI | Siemens | 30034 | 0
1001191 | 11101.0-00 | KTS termostat for køling 0-60 0C | STEGO | 30094 | 69.33
2185533 | 03501.0-00 | Cabinet socket / F/PL/CZ/SK / 6A fuse | STEGO | 30094 | 117.08
2186376 | 03500.0-00 | Cabinet socket / DE/RU/ 6A fuse | STEGO | 30094 | 89.4
2194045 | 03503.0-00 | Cabinet Socket/ UK | STEGO | 30094 | 145.3489
2194100 | 03507.0-01 | Enclosure Receptacle, AUSTRALIAN | STEGO | 30094 | 347.1775
2214036 | LI32111CT01 | LI32111CT01 600 VA / 360 W | Vertiv | 30235 | 707.75
2186081 | Bottom plate 5x2 | Bottom plate 5x2 | Vikme | 30405 | 223.1275
2186082 | Bottom plate 6x2 | Bottom plate 6x2 | Vikme | 30405 | 233.26
2186328 | Bottom plate 6x4 | Bottom plate 6x4 | Vikme | 30405 | 408.0253
2186750 | BOTTOM PLATE 3X4 | BOTTOM PLATE 3X4 | Vikme | 30405 | 222.978
2186798 | JD Holders | JD Holders | Vikme | 30405 | 37.25
2186812 | bottom plate 2x2 | bottom plate 2x2 | Vikme | 30405 | 91.4856
2186813 | bottom plate 8x4 | bottom plate 8x4 | Vikme | 30405 | 518.669
2186814 | ICCP3_NO_HOLES | ICCP3_NO_HOLES | Vikme | 30405 | 34.79
2186902 | BOTTOM PLATE 3X2 | BOTTOM PLATE 3X2 | Vikme | 30405 | 135.8867
2187029 | Door_back_bracket_4 | Door_back_bracket_4 | Vikme | 30405 | 41.2659
2193284 | ICCP2+_NO_HOLES | ICCP2+_NO_HOLES | Vikme | 30405 | 37.25
2193935 | BOTTOM PLATE 4X2 | BOTTOM PLATE 4X2 | Vikme | 30405 | 204.2775
2204500 | SWING_FRAME_SUPP_V2 | Swing_Frame_Support_V2 | Vikme | 30405 | 37.25
2206098 | BOTTOM_PLATE_8X2 | BOTTOM_PLATE_8X2 | Vikme | 30405 | 391.72
2206420 | Thermostat_Plate_Hol | Thermostat Plate Holder Rev0 | Vikme | 30405 | 17.2946
2206424 | ICCP4_No_Holes_Rev1 | ICCP4_No_Holes_Rev1 - ICCP4 No Holes Rev1 | Vikme | 30405 | 47.5308
2213230 | Bottom_Plate_S_2x2 | bottom_plate_SPECIAL_2x2 | Vikme | 30405 | 24.5388
2213231 | Bottom_Plate_S_4x2 | BOTTOM_PLATE_S_4X2 | Vikme | 30405 | 31.0886
2213232 | Bottom_Plate_S_6x2 | bottom_plate_SPECIAL_6x2 | Vikme | 30405 | 94.638
2213484 | BOTTOM_PLATE_S_2X3 | BOTTOM_PLATE_S_2X3 | Vikme | 30405 | 150
2213485 | BOTTOM_PLATE_S_3X6 | BOTTOM_PLATE_S_3X6 | Vikme | 30405 | 250
2214035 | ADV UPS holder V3 | ADV UPS holder V3 | Vikme | 30405 | 149
1000210 | 2002-402 | 2-polet laske 2.5mm | WAGO | 30130 | 2.0758
1000223 | 2002-1307 | 3L Gennemgangsklemme 2,5mm2 PE G/G | WAGO | 30130 | 9.68
1000259 | 2004-405 | 5-polet laske 4mm | WAGO | 30130 | 3.0156
1011907 | 2004-1292 | ENDE /MELLEMPLADE 2L ORANGE | WAGO | 30130 | 0.83207
1011914 | 2002-3201 | ETAGEKLEMME 3-2,5MM L/L/L | WAGO | 30130 | 4.5813
1014428 | 2002-1304 | GENNEMGANGSKL 2,5MM2 3L BL_ | WAGO | 30130 | 2.0314
1014509 | 2016-1201 | GENNEMGANGSKLEMME 16MM2 2L | WAGO | 30130 | 8.0365
1015197 | 2004-410 | LASKE 10-POLET | WAGO | 30130 | 8.8529
1016476 | 2004-1207 | GENNEMGANGSKL 4MM2 2L PE | WAGO | 30130 | 4.4516
1017332 | 2006-1307 | GENNEMGANGSKL 6MM2 3L PE | WAGO | 30130 | 16.3602
1017969 | 2002-405 | LASKE 5-POLET | WAGO | 30130 | 4.05
1018780 | 249-116 | ENDESTOP DIN -35MM 6MM | WAGO | 30130 | 2.2081
1018874 | 2004-1201 | GENNEMGANGSKLEMME 4MM2 2L | WAGO | 30130 | 2.4139
1019153 | 2002-1301 | GENNEMGANGSKL 2,5MM2 3L | WAGO | 30130 | 2.62
1019169 | 2002-1392 | ENDE /MELLEMPLADE 3L ORANGE | WAGO | 30130 | 1.28
1024361 | 2006-1391 | ENDE /MELLEMPLADE 3L GR_ | WAGO | 30130 | 1.8461
1024687 | 2002-403 | LASKE 3-POLET | WAGO | 30130 | 2.01
1040439 | 2002-3292 | 3-ETAGE ENDE-/MELLEMPL ORANG | WAGO | 30130 | 1.2816
1040619 | 285-635 | GENNEMGANGSKLEMME 35MM2 2L | WAGO | 30130 | 28.8712
1351981 | 2016-1292 | ENDE /MELLEMPLADE 2L 2016 ORANGE | WAGO | 30130 | 1.3485
2169799 | 2002-1611/1000-541 | 2-leder-sikringsklemme med drejelig sikringsholder | WAGO | 30130 | 11.5032
2169801 | 2002-1611/1000-836 | 2-leder-sikringsklemme med drejelig sikringsholder | WAGO | 30130 | 19.58
2170114 | 2002-991 | Endeplade til sikringsklemmer 2 mm i tykkelsen, gr | WAGO | 30130 | 1.08
2170267 | 2006-8031 | Fordelingsklemme med betjeningssprækker 1 x 6 mm² | WAGO | 30130 | 16.06
2170270 | 2006-8034 | Fordelingsklemme med betjeningssprækker 1 x 6 mm² | WAGO | 30130 | 16.06
2214310 | 2002-3207 | 2002-3207 | WAGO | 30130 | 19.12
1130535 | CP DC UPS 24V 20A/10 | UPS CONTROLLER 24VDC 20A/10A | Weidmuer | 30003 | 1255.71
1319467 | 1478130000 | PRO MAX 240W 24V 10A | Weidmuer | 30003 | 571.81
1330741 | 9037410000 | TERMINALR_R GR_ 2X0,75/14D | Weidmuer | 30003 | 0.19744
2147387 | 2789890000 | DURA ECO LA-BAT 24V 1.2AH | Weidmuer | 30003 | 490.9917
1001057 | 0061-0000 | ISOL.STK. CU10X30/40/50/60 | Cubic | 30093 | 5.56
1063312 | 1174-0003 | N_GLE F/DOBBELTFLIGET 1174-0003 | Cubic | 30093 | 4.7
1063404 | 1193-0000 | DOBBELTFLIGER L_S, 5MM | Cubic | 30093 | 9.49
1003798 | cu10x10 | Cu10x10 pr. meter | Metalcenter | 30058 | 394.994
1003800 | cu10x20 | Cu10x20 pr. meter | Metalcenter | 30058 | 715.2
1003801 | cu10x30 | Cu10x30 pr. meter | Metalcenter | 30058 | 150.66
1001580 | peb | JORDINGSBESLAG F/TAVLER PEB | Cubic | 30093 | 23.76
1469677 | 33662 | Spole MX 200-250 VAC/DC | Schneider | 30133 | 400.58
1469788 | 33878 | Drejegreb m/dørkobling sort | Schneider | 30133 | 448.67
2193186 | C100S4FM | Lastadskiller base NS1000NA 4P Fast mont | Schneider | 30093 | 874.22
1023670 | 2CDS253001R0164 | AUTOMATSIKRING 3P C 16A | ABB | 30024 | 144.64
1021487 | 2CDS253103R0254 | AUTOMATSIKRING 3P+N C 25A | ABB | 30024 | 178.1
1149298 | 2CDS253001R0631 | AUTOMATSIKRING 3P D63 | ABB | 30024 | 290.75
1003410 | GP2X3 | GRUNDPLADE CUBIC GP2X3 | Cubic | 30093 | 87.93
1001136 | ZBE101 | KONTAKTELEMENT 1SL ZBE101 | Schneider | 30093 | 11.208
2184945 | A9A26914 | Acti9 kontakt iOF 1OC 2mA til 100mA | Schneider | 30093 | 53.04
1015089 | 31105 | LASTADSKILLER INS250 160A 4P | Schneider | 30093 | 373.66
1027256 | LV429260 | KLEMMESÆT 120-185MM2 CU/AL 4STK | Schneider | 30093 | 55.51
1027515 | LV432480 | KLEMMESÆT 35-300MM2 CU/AL 4STK | Schneider | 30093 | 263.04
1469657 | 33609 | Front connection 1000A NS BOTTOM 4P F | Schneider | 30094 | 1045.84
2210874 | CH223DU | 3P 22x58 Fuse Holder | EATON |  | 483.9925
1494324 | 1SAM451000R1015 | Motorværn 30-42 A Trip class 10 1SAM451000R1015 | ABB | 30024 | 695.27
1000125 | 1SBN010110R1001 | HJ_LPEKONTAKT CA4-01 1NC | ABB | 30024 | 11.354
1136777 | AF40-30-00-13 | KONTAKTOR 40A 100-250 V AC/DC | ABB | 30024 | 319.125
1036731 | MS132 32 | MOTORV_RN MS132 25 ... 32 A | ABB | 30024 | 370.5632
1016788 | 2CSF204101R1630 | HPFI-AFB. 63/0,03/4P | ABB | 30024 | 179.2487
2215845 | 1SDA068069R1 | XT3N 250 TMD 200-2000 4p F F InN=100% | ABB | 30024
1336227 | FB243288 | CU-FLEX SKINNE | Cubic | 30093 | 121.13
1176157 | 1SDA066422R1 | Hjælpekontakt Hjælpekontakt 1Q 1SDA066422R1 | ABB | 30024 | 60.43
1156166 | 1SDA066929R1 | Terminalsæt al/cu multiklemme Multi kabel terminal | ABB | 30024 | 162.994
1011452 | 1SDA054980R1 | KIT FC Cu 1x185mm2 T4 3pcs | ABB | 30024 | 130.88
1011452 | 1SDA054981R1 | KIT FC Cu 1x185mm2 T4 4pcs | ABB | 30024 | 130.88
1025255 | 2CSF204101R1400 | HPFI-AFB. 40/0,03/4P | ABB | 30024 | 143.531
1075516 | A9F04363 | AUTOMATSIKRING IC60N 3P 63A C | ABB | 30024 | 366.7
2170314 | 2007-8876 | Compact terminal block | WAGO | 30130 | 613.58
1047415 | A9F07616 | AUTOMATSIKR. IC60H 1P+N 16A C | ABB | 30024 | 43.21
1047408 | A9F07432 | AUTOMATSIKRING IC60H 4P 32A C | ABB | 30024 | 186.46
1027011 | RSL1PVPU | RELAY 1 C/O WITH SOCKET 230 VAC | Schneider | 30093 | 57.4418
1027008 | RSL1PVBU | RELAY 1C/O WITH SOCKET 24VAC/DC | Schneider | 30093 | 53.8013
2215949 | 1SDA066821R1 | XT1B 160 TMD 160-1600 4p F F InN=100% | ABB | 30024 | 2110

## Hours
Average hours |  |  |  | Price
Type | TT | TN-S | TN-C-S | 205
A | 0 | 0 | 0
B | 0 | 92 | 0
B1 | 0 | 0 | 0
B2 | 0 | 0 | 0
C | 0 | 0 | 100
C1 | 130 | 120 | 130
C2 | 150 | 130 | 140
C3 | 170 | 130 | 0
C4 | 180 | 160 | 0
C4.1 | 0 | 150 | 170
C5 | 185 | 180 | 0
C6 | 0 | 0 | 0
C7 | 0 | 0 | 0
C8 | 0 | 0 | 0
F | 0 | 0 | 0
F1 | 0 | 0 | 0
F2 | 0 | 0 | 0
F3 | 0 | 0 | 0
F4 | 200 | 120 | 150
F5 | 150 | 150 | 140
F6 | 0 | 0 | 0
F7 | 0 | 0 | 0
G | 0 | 0 | 0
G1 | 0 | 0 | 0
G2 | 0 | 0 | 0
G3 | 0 | 0 | 0
G4 | 200 | 120 | 150
G5 | 150 | 150 | 140
G6 | 0 | 0 | 0
G7 | 0 | 0 | 0